## protection crit
City |  |  | Date:
|  | Calculation of Plant Protection Criteria to prevent Pass Through, Inhibition and contamination of Biosolids. | [10 empty] | Information Cells
Plant Protection Limits | [12 empty] | PLANT PROTECTION DATA |  |  |  | LOCAL LIMIT DATA Calculation Data
|  | Pass through | Act. Sludge | [5 empty] | Biosolids | 503 | Sludge wasted
Parameter |  | Con. ug/L | % removal | Plant Protection ug/L | Reference | AS or Nit | Inhibition Con. ug/L |  | Criteria ug/L | Ceil. cont | lbs per Day | Avg Flow | Design Capacity |  | MGD |  | Residential/Commercial Flow |  |  | MGD
|  | C | D | E |  |  | I |  | K | L | M | O | Current Average Flow |  | MGD |  | Industrial Reserve Percent |  | 10 | %
|  |  |  | C/(1-(D/100)) |  |  |  |  | (M*S)/(1000*V*8.34*(D/100) | [7 empty] | SIU Average Flow |  |  | MGD
[13 empty] | Biosolids |  | lbs/day |  | SIU Maximum Flow |  |  | MGD
[13 empty] | Pass Through Limits Date |  |  |  | Daily Max Multiplier |  | 2
Pass Through Limits from TDEC date
[13 empty] | Nitrification Required |  | Y/N
Percent of Current Flow
Arsenic |  |  | 45 |  | EPA LL | Act Sludge | 100 |  | #DIV/0! | 41 | 0 | 0 | Current SIU Flow |  | MGD | #DIV/0! | #DIV/0!
Copper |  |  | 82 | 0 | EPA LL | Nit @ 50% | 265 |  | #DIV/0! | 1500 | 0 | 0 | Current R/C Flow | 0 | MGD | #DIV/0! | #DIV/0!
Chromium III |  |  | 84 | 0 | EPA LL | Nitrification | 250 | [5 empty] | Unused or Available Flow | 0 | MGD
Chromium VI |  |  | 84 | 0 | EPA LL | Nitrification | 250
Chromium |  |  | 84 | 0 | EPA LL | Nitrification | 250 |  |  |  | 0 | 0
Nickel |  |  | 47 | 0 | EPA LL | Nitrification | 250 |  | #DIV/0! | 420 | 0 | 0
Cadmium |  |  | 85 | 0 | EPA LL | Act Sludge | 1000 |  | #DIV/0! | 39 | 0 | 0 | Full Capacity flow estimate using current flow percentages
Lead |  |  | 82 | 0 | TN Guid | Act Sludge | 100 |  | #DIV/0! | 300 | 0 | 0 | Residential/Commercial | #DIV/0! | MGD
Mercury |  |  | 91 | 0 | EPA LL | Act Sludge | 100 |  | #DIV/0! | 17 | 0 | 0 | SIU Flow | #DIV/0! | MGD
Zinc |  |  | 73 | 0 | EPA LL | Nit @ 50% | 290 |  | #DIV/0! | 2800 | 0 | 0
Molybdenum |  |  | 41 | [5 empty] | #DIV/0! | 75 | 0 | 0
Selenium |  |  | 73 | [5 empty] | #DIV/0! | 100 | 0 | 0
Silver, daily max. |  |  | 83 | 0 | TN Guid | Act Sludge | 250
Cyanide |  |  | 62 | 0 | EPA LL | Act Sludge | 100
Toluene |  |  | 93 | 0 | EPA LL | Act Sludge | 200000
Benzene |  |  | 77 | 0 | EPA LL | Act Sludge | 100000
1,1,1-Trichloroethane |  |  | 88 | 0
Ethybenzene |  |  | 90 | 0 | EPA LL | Act Sludge | 200000
Carbon Tetrachloride |  |  | 99 | 0
Chloroform |  |  | 62 | 0 |  |  | 10000
Tetrachloroethylene |  |  | 82 | 0
Trichlorethylene |  |  | 90 | 0
1,2 Transdichloroethylene |  |  | 80 | 0
Methylene chloride |  |  | 48 | 0
Phenol |  |  | 89 | 0 | EPA LL | Nitrification | 4000
Naphthalene |  |  | 92 | 0 | EPA LL | Act Sludge | 500000
Bis(2-ethyl hexyl) phathalate |  |  | 62 | 0
Butyl benzyl phathalate |  |  | 94 | 0
Di-n-butyl phathalate |  |  | 68 | 0
Diethyl phathalate |  |  | 91 | 0
Total Phathalate |  |  | 62 | 0
* percent removal from SAR's
| B |  | D |  |  |  | I | J | K |  | M | O | R
|  |  | Maximum Allowable Headworks Loading | [8 empty] | Maximum Allowable Industrial Loading
Pollutant Loading |  |  | MAHL | [8 empty] | MAIL | Monthly Average
[13 empty] | Local Limit at Flow |  |  |  | Daily Maximum
Parameter | Plant Protection Criteria ug/L |  | Loading lbs/day @ Design Flow |  |  |  | Residential/Commercial Background |  |  |  | Available Loading | Available Load after | 0 | MGD |  |  | Mo Avg * | 2
| B= lowest value of column |  | B/1000*8.34*$S$7 |  |  |  | mg/l | Flow | Load in lbs |  |  | Reserve is Removed
| 'E,G,I | [7 empty] | I*J*8.34 |  | D-K= lbs
Arsenic | 16.1861 |  | 0 |  |  |  | 0.005 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Arsenic |  | #DIV/0!
Copper | 265 |  | 0 |  |  |  | 0.076 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Copper |  | #DIV/0!
Chromium III | 187.94 |  | 0 |  |  |  | 0.005 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Chromium III |  | #DIV/0!
Chromium VI | 62.06 |  | 0 |  |  |  | 0.005 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Chromium VI |  | #DIV/0!
Chromium | 250 |  | 0 |  |  |  | 0.005 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Chromium |  | #DIV/0!
Nickel | 158.75 |  | 0 |  |  |  | 0.005 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Nickel |  | #DIV/0!
Cadmium | 8.1512 |  | 0 |  |  |  | 0.001 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Cadmium |  | #DIV/0!
Lead | 64.9955 |  | 0 |  |  |  | 0.00477 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Lead |  | #DIV/0!
Mercury | 0.56 |  | 0 |  |  |  | 0.0001 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Mercury |  | #DIV/0!
Zinc | 290 |  | 0 |  |  |  | 1.3655 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Zinc |  | #DIV/0!
Molybdenum | 32.4977 |  | 0 |  |  |  | 0.004835 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Molybdenum |  | #DIV/0!
Selenium | 24.3362 |  | 0 |  |  |  | 0.005 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Selenium |  | #DIV/0!
Silver | 29.41 |  | 0 |  |  |  | 0.0025 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Silver |  | #DIV/0!
Cyanide | 13.68 |  | 0 |  |  |  | 0.0025 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Cyanide |  | #DIV/0!
Toluene | 214.29 |  | 0 |  |  |  | 0.001955 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Toluene |  | #DIV/0!
Benzene | 13.04 |  | 0 |  |  |  | 0.0015 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Benzene |  | #DIV/0!
1,1,1-Trichloroethane | 250 |  | 0 |  |  |  | 0.0015 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | 1,1,1-Trichloroethane |  | #DIV/0!
Ethybenzene | 40 |  | 0 |  |  |  | 0.0015 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Ethybenzene |  | #DIV/0!
Carbon Tetrachloride | 1500 |  | 0 |  |  |  | 0.0015 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Carbon Tetrachloride |  | #DIV/0!
Chloroform | 223.68 |  | 0 |  |  |  | 0.0075 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Chloroform |  | #DIV/0!
Tetrachloroethylene | 138.89 |  | 0 |  |  |  | 0.0015 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Tetrachloroethylene |  | #DIV/0!
Trichlorethylene | 100 |  | 0 |  |  |  | 0.0015 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Trichlorethylene |  | #DIV/0!
1,2 Transdichloroethylene | 7.5 |  | 0 |  |  |  | 0.0015 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | 1,2 Transdichloroethylene |  | #DIV/0!
Methylene chloride | 96.15 |  | 0 |  |  |  | 0.0075 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Methylene chloride |  | #DIV/0!
Phenol | 454.55 |  | 0 |  |  |  | 0.1405 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Phenol |  | #DIV/0!
Naphthalene | 12.5 |  | 0 |  |  |  | 0.00375 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Naphthalene |  | #DIV/0!
Bis(2-ethyl hexyl) phathalate | [14 empty] | Bis(2-ethyl hexyl) phathalate
Butyl benzyl phathalate | [14 empty] | Butyl benzyl phathalate
Di-n-butyl phathalate | [14 empty] | Di-n-butyl phathalate
Diethyl phathalate | [14 empty] | Diethyl phathalate
Total Phathalate | 169.74 |  | 0 |  |  |  | 0.01125 | 0 | 0 |  | 0 | 0 | #DIV/0! |  | Total Phathalate |  | #DIV/0!
BOD May-Oct |  |  | 0 | [5 empty] | 0 |  | 0 | 0 | #DIV/0! |  | BOD May-Oct |  | #DIV/0!
BOD Nov-April |  |  | 0 | [5 empty] | 0 |  | 0 | 0 | #DIV/0! |  | BOD Nov-April |  | #DIV/0!
TSS |  |  | 0 | [5 empty] | 0 |  | 0 | 0 | #DIV/0! |  | TSS |  | #DIV/0!
Ammonia M-Oct |  |  | 0 | [5 empty] | 0 |  | 0 | 0 | #DIV/0! |  | Ammonia M-Oct |  | #DIV/0!
Ammonia N-April |  |  | 0 | [5 empty] | 0 |  | 0 | 0 | #DIV/0! |  | Ammonia N-April |  | #DIV/0!

## Residential Testing
Residential/Commercial Background Monitoring
BDL or ND values, TDEC allows the use of 1/2 of the detection level.
| Test Date |  |  | Values included on this page are an example only!
Parameter | 2022-03-01 | 2022-03-22
| Marathon LS | Dollar store LS | Values to Use
Arsenic | 0.01 | 0.01 | 0.005
Copper | 0.135 | 0.017 | 0.076
Chromium III | 0.01 | 0.01 | 0.005
Chromium VI | 0.01 | 0.01 | 0.005
Chromium | 0.01 | 0.01 | 0.005
Nickel | 0.01 | 0.01 | 0.005
Cadmium | 0.002 | 0.002 | 0.001
Lead | 0.00704 | 0.005 | 0.00477
Mercury | 0.0002 | 0.0002 | 0.0001
Zinc | 2.65 | 0.081 | 1.3655
Molybdenum | 0.005 | 0.00717 | 0.004835
Selenium | 0.01 | 0.01 | 0.005
Silver | 0.005 | 0.005 | 0.0025
Cyanide | 0.005 | 0.005 | 0.0025
Toluene | 0.005 | 0.00141 | 0.001955
Benzene | 0.005 | 0.001 | 0.0015
1,1,1-Trichloroethane | 0.005 | 0.001 | 0.0015
Ethybenzene | 0.005 | 0.001 | 0.0015
Carbon Tetrachloride | 0.005 | 0.001 | 0.0015
Chloroform | 0.025 | 0.005 | 0.0075
Tetrachloroethylene | 0.005 | 0.001 | 0.0015
Trichlorethylene | 0.005 | 0.001 | 0.0015
1,2 Transdichloroethylene | 0.005 | 0.001 | 0.0015
Methylene chloride | 0.025 | 0.005 | 0.0075
Phenol | 0.135 | 0.146 | 0.1405
Naphthalene | 0.005 | 0.01 | 0.00375
Bis(2-ethyl hexyl) phathalate | 0.015 | 0.03 | 0.01125
Butyl benzyl phathalate | 0.015 | 0.03 | 0.01125
Di-n-butyl phathalate | 0.015 | 0.03 | 0.01125
Diethyl phathalate | 0.015 | 0.03 | 0.01125
Total Phathalate | 0.015 | 0.03 | 0.01125
BOD May-Oct
BOD Nov-April
TSS
Ammonia M-Oct
Ammonia N-April

## Rationale
Rationale
Plant protection Values are calclated based three methods, pass-through, inhibition, and biosolids (if land application) is used.
Pass Through Limits from TDEC dated
Percent Removal data are from TDEC Guidance Manual or from the recent SAR's. Actual plant data is marked with an *
Inhibition data is from either the TDEC or EPA Guidance Manuals
Sludge/Biosolids: Specify if sludge is land filled or Biosolid Land Applied, If landfilling is used the "biosolids" calculations are not needed.
Plant Protection values are the lower of the two or three calculated values in Columns E, I, K. These lowest values are manually transferred to Column B on the lower half of the spreadsheet
Working from left to right on the bottom half of the sheet, from Plant Protection to Local Limits
On the Bottom Half, Column D which calculates the Maximum Allowable Headworks Loading in pounds.
Column I contains the Residential/Commercial Background data taken from the separate sheet. If test data reported BDL or ND one half of the detection level is used.
Column J contains the Residential/Commercial background flow. (Specify if this scales the plant to full capacity or uses actual flow)
Column K is the loading(pounds) need for the Residential/Commercial customers
Column M is the Available Industrial Loading before a Reserve Load is removed
Column O id thrMaximum Allowable Industrial Load, after reserve load is removed.
Column R calculates the Monthly Average Local Limit using the average/maximim industrial flow (specify which is used)
Column V calculates the Daily Maximum Local Limit (if used) (specify which factor is used, generally 1.5 or 2)